## Sample Info
batch | id1 | id2 | volume | mass_mg | carbon_toc
| 1 |  | 1000 | 1000 | 4
| 2 |  | 1000 | 1000 | 4
| 3 |  | 1000 | 1000 | 3
| 4 |  | 1000 | 1000 | 3
| 5 |  | 500 | 1000 | 2
| 6 |  | 500 | 1000 | 2
| 7 |  | 500 | 1000 | 2
| 8 |  | 500 | 1000 | 2
| 9 |  | 1000 | 1000 | 4
| 10 |  | 1000 | 1000 | 4
| 11 |  | 1000 | 1000 | 3
| 12 |  | 1000 | 1000 | 3
| 13 |  | 500 | 1000 | 2
| 14 |  | 500 | 1000 | 2
| 15 |  | 500 | 1000 | 2
| 16 |  | 500 | 1000 | 2
| 17 |  | 500 | 2000 | 4
| 18 |  | 500 | 2000 | 4
| 19 |  | 500 | 2000 | 3
| 20 |  | 500 | 2000 | 3
| 21 |  | 500 | 2000 | 2
| 22 |  | 500 | 2000 | 2
| 23 |  | 500 | 2000 | 2
| 24 |  | 500 | 2000 | 2

## GC-FID
id1 | id2 | comp | area
1 |  | 24eCOP | 54.342
1 |  | CAMP | 76.758
1 |  | CHO | 128.862
1 |  | COP | 23.189
1 |  | epiCOP | 9.626
1 |  | IRS | 183.206
1 |  | RFS | 115.221
1 |  | SITO | 574.978
1 |  | STIG | 144.946
2 |  | 24eCOP | 54.474
2 |  | CAMP | 75.794
2 |  | CHO | 125.74
2 |  | COP | 23.282
2 |  | epiCOP | 9.425
2 |  | IRS | 179.451
2 |  | RFS | 112.436
2 |  | SITO | 578.208
2 |  | STIG | 144.556
3 |  | 24eCOP | 30.201
3 |  | CAMP | 43.219
3 |  | CHO | 46.875
3 |  | COP | 10.441
3 |  | epiCOP | 6.517
3 |  | IRS | 182.818
3 |  | RFS | 111.368
3 |  | SITO | 390.854
3 |  | STIG | 87.219
4 |  | 24eCOP | 18.436
4 |  | CAMP | 38.346
4 |  | CHO | 45.967
4 |  | COP | 10.531
4 |  | epiCOP | 7.302
4 |  | IRS | 199.526
4 |  | RFS | 117.118
4 |  | SITO | 401.854
4 |  | STIG | 89.954
5 |  | 24eCOP | 98.356
5 |  | CAMP | 137.674
5 |  | CHO | 113.729
5 |  | COP | 24.934
5 |  | epiCOP | 17.654
5 |  | IRS | 365.84
5 |  | RFS | 136.048
5 |  | SITO | 1162.123
5 |  | STIG | 308.794
6 |  | 24eCOP | 94.592
6 |  | CAMP | 134.23
6 |  | CHO | 127.589
6 |  | COP | 23.214
6 |  | epiCOP | 16.068
6 |  | IRS | 367.237
6 |  | RFS | 132.854
6 |  | SITO | 1074.224
6 |  | STIG | 289.784
7 |  | 24eCOP | 114.468
7 |  | CAMP | 188.104
7 |  | CHO | 88.433
7 |  | COP | 28.575
7 |  | epiCOP | 23.979
7 |  | IRS | 378.959
7 |  | RFS | 144.868
7 |  | SITO | 1775.994
7 |  | STIG | 467.808
8 |  | 24eCOP | 126.868
8 |  | CAMP | 208.965
8 |  | CHO | 95.353
8 |  | COP | 33.684
8 |  | epiCOP | 28.98
8 |  | IRS | 389.001
8 |  | RFS | 152.582
8 |  | SITO | 1975.3
8 |  | STIG | 522.818
9 |  | 24eCOP | 68.045
9 |  | CAMP | 102.262
9 |  | CHO | 183.923
9 |  | COP | 28.783
9 |  | epiCOP | 14.12
9 |  | IRS | 207.011
9 |  | RFS | 126.762
9 |  | SITO | 652.231
9 |  | STIG | 189.679
10 |  | 24eCOP | 62.446
10 |  | CAMP | 92.829
10 |  | CHO | 160.221
10 |  | COP | 26.679
10 |  | epiCOP | 13.059
10 |  | IRS | 188.477
10 |  | RFS | 124.102
10 |  | SITO | 613.527
10 |  | STIG | 177.321
11 |  | 24eCOP | 35.391
11 |  | CAMP | 56.686
11 |  | CHO | 57.707
11 |  | COP | 10.921
11 |  | epiCOP | 10.264
11 |  | IRS | 181.801
11 |  | RFS | 113.854
11 |  | SITO | 428.864
11 |  | STIG | 106.817
12 |  | 24eCOP | 34.046
12 |  | CAMP | 51.468
12 |  | CHO | 52.585
12 |  | COP | 10.29
12 |  | epiCOP | 7.333
12 |  | IRS | 172.861
12 |  | RFS | 108.191
12 |  | SITO | 409.248
12 |  | STIG | 101.716
13 |  | 24eCOP | 108.244
13 |  | CAMP | 179.671
13 |  | CHO | 147.229
13 |  | COP | 27.153
13 |  | epiCOP | 23.225
13 |  | IRS | 365.386
13 |  | RFS | 135.978
13 |  | SITO | 1227.63
13 |  | STIG | 364.609
14 |  | 24eCOP | 104.499
14 |  | CAMP | 177.081
14 |  | CHO | 171.452
14 |  | COP | 25.41
14 |  | epiCOP | 22.322
14 |  | IRS | 364.819
14 |  | RFS | 133.645
14 |  | SITO | 1133.266
14 |  | STIG | 342.704
15 |  | 24eCOP | 152.821
15 |  | CAMP | 263.743
15 |  | CHO | 118.066
15 |  | COP | 32.084
15 |  | epiCOP | 31.371
15 |  | IRS | 411.495
15 |  | RFS | 156.725
15 |  | SITO | 1892.3
15 |  | STIG | 573.282
16 |  | 24eCOP | 151.033
16 |  | CAMP | 278.55
16 |  | CHO | 119.334
16 |  | COP | 33.064
16 |  | epiCOP | 33.355
16 |  | IRS | 367.76
16 |  | RFS | 150.398
16 |  | SITO | 1945.64
16 |  | STIG | 582.276
17 |  | 24eCOP | 25.682
17 |  | CAMP | 41.233
17 |  | CHO | 61.3
17 |  | IRS | 294.792
17 |  | RFS | 95.614
17 |  | SITO | 169.776
17 |  | STIG | 38.268
18 |  | 24eCOP | 28.056
18 |  | CAMP | 47.389
18 |  | CHO | 72.204
18 |  | IRS | 315.966
18 |  | RFS | 104.824
18 |  | SITO | 202.053
18 |  | STIG | 46.236
19 |  | 24eCOP | 4.055
19 |  | CAMP | 6.581
19 |  | CHO | 12.78
19 |  | IRS | 99.785
19 |  | RFS | 96.869
19 |  | SITO | 58.601
19 |  | STIG | 13.424
20 |  | 24eCOP | 24.219
20 |  | CAMP | 50.451
20 |  | CHO | 56.676
20 |  | IRS | 349.754
20 |  | RFS | 112.749
20 |  | SITO | 255.659
20 |  | STIG | 59.6
21 |  | 24eCOP | 21.522
21 |  | CAMP | 44.845
21 |  | CHO | 50.595
21 |  | IRS | 345.015
21 |  | RFS | 104.553
21 |  | SITO | 202.237
21 |  | STIG | 45.857
22 |  | 24eCOP | 22.622
22 |  | CAMP | 44.334
22 |  | CHO | 51.308
22 |  | IRS | 361.042
22 |  | RFS | 107.326
22 |  | SITO | 202.459
22 |  | STIG | 46.145
23 |  | 24eCOP | 26.741
23 |  | CAMP | 89.412
23 |  | CHO | 65.65
23 |  | IRS | 349.794
23 |  | RFS | 112.632
23 |  | SITO | 466.348
23 |  | STIG | 95.777
24 |  | 24eCOP | 24.196
24 |  | CAMP | 69.41
24 |  | CHO | 55.341
24 |  | IRS | 337.242
24 |  | RFS | 103.876
24 |  | SITO | 400.632
24 |  | STIG | 79.903

## Parameters
comp | mass | (mg) | Parameter | Value | Units | Explanation
IRS | 12.59 |  | mix.vol | 100 | mL | Volume of the mixed standard
CHO | 12.45 |  | dil.factor | 0.5 | unitless | Dilution factor for each step in the serial dilution
COP | 12.69 |  | irs | 0.43596 | mg | Mass of IRS added to internal recovery standard
SITO | 8.8474 |  | irs.vol | 3.36 | mL | Volume of solvent in IRS stock (pyridine)
STIG | 13.3464 |  | irs.spike | 80 | uL | Volume of IRS stock spiked into sample
CAMP | 1.9835 |  | transfer.vol | 40 | uL | Volume of reconstituted residue transferred to GC vial
|  |  | rfs | 10.68 | mg | Mass of RFS (response factor standard, 5a-Cholestane) added to the stock
|  |  | rfs.vol | 25 | mL | Volume of pyridine in the RFS stock
|  |  | rfs.spike | 50 | uL | Volume of RFS stock added to the derivatizing solution
|  |  | bstfa.spike | 950 | uL | Volume of BSTFA added to the derivatizing solution
|  |  | der.vol | 10 | uL | Volume of derivatizing solution added to GC vial (must be same for samples and standards)
|  |  | inj.vol | 1 | uL | Injection volume during analysis

## Calibration
batch | dil | comp | area
| 1 | CAMP | 163.444
| 1 | CAMP | 158.892
| 2 | CAMP | 85.091
| 2 | CAMP | 76.504
| 3 | CAMP | 41.958
| 3 | CAMP | 40.795
| 4 | CAMP | 20.659
| 1 | CHO | 588.502
| 1 | CHO | 580.757
| 2 | CHO | 300.631
| 2 | CHO | 277.937
| 3 | CHO | 142.697
| 3 | CHO | 146.283
| 4 | CHO | 71.942
| 1 | COP | 1208.16
| 1 | COP | 1189.366
| 2 | COP | 619.461
| 2 | COP | 570.256
| 3 | COP | 296.835
| 3 | COP | 300.91
| 4 | COP | 148.859
| 1 | IRS | 1189.473
| 1 | IRS | 1188.763
| 2 | IRS | 607.327
| 2 | IRS | 569.186
| 3 | IRS | 294.77
| 3 | IRS | 301.147
| 4 | IRS | 148.833
| 1 | RFS | 85.346
| 1 | RFS | 82.538
| 2 | RFS | 89.014
| 2 | RFS | 82.054
| 3 | RFS | 89.87
| 3 | RFS | 88.814
| 4 | RFS | 87.113
| 1 | SITO | 719.174
| 1 | SITO | 706.431
| 2 | SITO | 368.229
| 2 | SITO | 337.832
| 3 | SITO | 174.776
| 3 | SITO | 177.612
| 4 | SITO | 87.412
| 1 | STIG | 965.983
| 1 | STIG | 951.27
| 2 | STIG | 495.005
| 2 | STIG | 455.213
| 3 | STIG | 234.862
| 3 | STIG | 239.531
| 4 | STIG | 117.865